| Biological & GMO waste | Cytotoxic waste |
| --- | --- |

- Sharps waste bins, once ready to be disposed of, should be put inside the new 60L bins.

- Small containers of liquid cytotoxic waste can be put inside the purple bin, however 3x1L containers maximum for any one bin. Large volumes of biological liquid waste should continue to be decontaminated and disposed of as chemical waste

- Do not fill the bins beyond the black inner lip.

- The bins have two levels of locking (on the front and on the side)

| Permanent Lock |  | Front Lock |
| --- | --- | --- |

The front lock allows the lid to be secured down and unlocks when needed. This prevents waste from falling out if the bin is tipped over. Ideally they should be locked at the end of the day.

The permanent lock must only be used once the bin is ready to be disposed of. Press down on the red buttons and move the black sliders from the unlocked position into the locked position

- Once the permanent lock is used it cannot be reopened.

- Gloves must be worn when handling the bins. They will be wiped down with disinfectant before being taken out of the lab.

- The bins will be taken on a trolley to the biological waste store. The waste contractor (SteriHealth) will take away the bins and incinerate the content, the bins are then sterilised for reuse.

- SteriHealth will visit daily to collect full bins and deliver empty bins.

- Long serological pipettes can be put directly into the bin. Glass Pasteur pipettes must be put in the sharps bin first.

- The yellow bins are supplied lined with a bag but the purple bins do not need a liner.

- There may be times when the lid is white, instead of grey.  There is no difference so continue as normal.

- Broken glass should continue to be placed in the white bins

- The small white waste bins with autoclave bags will be removed from each lab.

- The large yellow sulo bins in the corridors will be removed.

# Text boxes

New 60L waste bins

August 2012

School of Medical Science